Introduction Lab Part I

Purpose:  	To become familiar with the operation of the lab burner then

fire-polish and bend glass

Burner will be safely used for the remainder of the year

Procedure for studying burner:

1)  Remove the burner from the lab drawer and study the parts while referring to figure 1-1.  Totally unscrew both the barrel and the needle valve until you have 3 pieces. (A) What are the names of the 3 burner pieces?

2)  Replace only the needle valve and tighten it

as far as it will go but do NOT use excessive

force.  Run your finger over the top of the base

and examine the small opening.  (B) What do

you notice about the tip of the needle valve

and the tiny opening?

3)  With the needle valve in that position and

the barrel still off, attach the rubber tubing to

the gas valve and turn on the gas.  Use your

sense of hearing and/or touch to observe the

burner.  (C) Does any gas come out the

small opening in the base?

4)  Turn the gas OFF and screw the barrel back on.  Open the needle valve by turning one full rotation.

5)  Make sure the air ports are AT LEAST half way open.  Light a wood splint and hold it at the top edge of the barrel.  Making sure NOT to reach over the burner, turn the gas valve on by pushing it to a 45 degree angle.  If the splint goes out, turn off the gas and relight the splint.  Try again but this time use less gas by pushing the valve less.  If the flame “goes down” the barrel and the needle valve becomes hot, turn OFF the burner and get the instructor.

6) Turn off the burner and have your partner light it using a wood splint.  Now observe your flame.  (D) What color is the flame?  After answering question D, completely close the air ports.  (E) Now what color is the flame?

7) Using the air ports and if necessary the needle valve, adjust the flame so that you have 2 blue cones.  Once you have a good flame that is 4 to 6 cm high, call the instructor over.  (F) Burner flame check:

8)  The top of the inner cone is the hottest part of the flame.  Turn off the gas valve and answer the following questions on your pre-lab.  When done with the questions, ask the teacher if there is time to fire-polish and bend the glass.

(There are more questions for the pre-lab on the back)

(G)  Where are the used matches and wood splints disposed at?

(H)  What three items can you use to adjust the flame?

(I)   Which of the items from letter H adjusts the temperature of the flame?

(J)  What would happen to the flame if the needle valve was closed after the burner was lit?

(K)  What would happen to the flame if the air ports were completely closed after the burner was lit?

Procedure for glass manipulation:

1)  Glass tubing, a ruler and a triangle file are all in the hood.  Measure a length of about 18.0 cm of tubing and “cut” it using the method demonstrated by the teacher.  Remember to only use ONE swift pull on the file to mark the glass tube.

2)  Now fire-polish one end of the glass tubing using the hottest part of the flame.  Remember to turn the tube as you polish it.  BE VERY CAREFUL: HOT GLASS LOOKS THE SAME AS COOL GLASS.  Once one end is done and has cooled, have your partner fire-polish the other side if time allows.  If you will continue this the next day, label the bend with a piece of tape and place it in the lower right lab drawer.  Tape and a pen can be found at the front demo table.

3)  Once both ends are fire-polished and cooled, you can bend the glass.  Place the flame spreader on top of your unlit burner.  Call the teacher over if your flame spreader will not go on your burner.

4)  Light the burner and adjust for a hot flame.  Hold the ends of the glass bend and place in the flame.  ROTATE the glass while you are heating it.  You should see the entire flame turn yellow.  If you see quite a bit of blue you may need a bigger flame or your glass may need to be lowered more to the top of the flame spreader.  When the glass feels “fluid” or starts to sag remove it from the flame and bend it 90 degrees AT ONCE.  Place the glass bend on the lab bench and allow it to cool.

5)  If your bend did not turn out OK, your partner may try to bend another tube.  See the teacher for details.  A deduction will be made for a second try and this is only allowed if time permits.

(L)  Why is the tubing fire-polished?

(M)  Why is it especially hazardous to work with hot glass?